第四條附件二修正規定

| 附件二 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 應適用藥物優良製造準則第三編第三章精要模式之品項 |  |  |  |  |  |  |  |  |
| 下列品項如已經滅菌者，仍須符合藥物優良製造準則第三編第二章標準模式 |  |  |  |  |  |  |  |  |
| 一、 | 臨床化學及臨床毒理學(除量測儀器外) |  |  |  |  |  |  |  |
|  | (CLINICAL CHEMISTRY AND CLINICAL TOXICOLOGY DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  |  |  |  | 英文名稱 |  | 等級 |
| A.1030 | 胺基丙酸轉移酶試驗系統 |  |  |  |  | Alanine amino transferase (ALT/SGPT) test system |  | 1 |
| A.1040 | 丁醛醇酵素試驗系統 |  |  |  |  | Aldolase test system |  | 1 |
| A.1060 | δ-胺基乙醯丙酸試驗系統 |  |  |  |  | Delta-aminolevulinic acid test system |  | 1 |
| A.1065 | 血氨試驗系統 |  |  |  |  | Ammonia test system |  | 1 |
| A.1075 | 雄烯二酮試驗系統 |  |  |  |  | Androstenedione test system |  | 1 |
| A.1080 | 雄固酮試驗系統 |  |  |  |  | Androsterone test system |  | 1 |
| A.1095 | 抗壞血酸試驗系統 |  |  |  |  | Ascorbic acid test system |  | 1 |
| A.1113 | 新生兒膽紅素(總量及未結合的) 試驗系統 |  |  |  |  | Bilirubin (total and unbound) in the neonate test system |  | 1 |
| A.1115 | 尿中膽紅素及其結合物(非定量) 試驗系統 |  |  |  |  | Urinary bilirubin and its conjugates (nonquantitative) test system |  | 1 |
| A.1130 | 血量試驗系統 |  |  |  |  | Blood volume test system |  | 1 |
| A.1135 | 胰島素前質C-肽類試驗系統 |  |  |  |  | C-peptides of proinsulin test system |  | 1 |
| A.1165 | 兒茶酚胺(總量)試驗系統 |  |  |  |  | Catecholamines (total) teset system |  | 1 |
| A.1175 | 膽固醇(總量)試驗系統 |  |  |  |  | Cholesterol (total) test system |  | 1 |
| A.1180 | 胰凝乳蛋白試驗系統 |  |  |  |  | Chymotrypsin test system |  | 1 |
| A.1185 | S-化合物(11-去氧氫氧基皮質酮) 試驗系統 |  |  |  |  | Compound S (11-deoxycortisol) test system |  | 1 |
| A.1190 | 銅試驗系統 |  |  |  |  | Copper test system |  | 1 |
| A.1195 | 腎上腺類皮質素試驗系統 |  |  |  |  | Corticoids test system |  | 1 |
| A.1200 | 皮質類固酮試驗系統 |  |  |  |  | Corticosterone test system |  | 1 |
| A.1210 | 肌酸試驗系統 |  |  |  |  | Creatine test system |  | 1 |
| A.1240 | 胱氨酸試驗系統 |  |  |  |  | Cystine test system |  | 1 |
| A.1245 | 去氫表雄固酮(游離和硫鹽)試驗系統 |  |  |  |  | Dehydroepiandrosterone (free and sulfate) test system |  | 1 |
| A.1250 | 去氧皮質酮試驗系統 |  |  |  |  | Deoxycorticosterone test system |  | 1 |
| A.1255 | 2,3-二磷甘油酸試驗系統 |  |  |  |  | 2,3-Diphosphoglyceric acid test system |  | 1 |
| A.1260 | 雌二醇試驗系統 |  |  |  |  | Estradiol test system |  | 1 |
| A.1265 | 雌三醇試驗系統 |  |  |  |  | Estriol test system |  | 1 |
| A.1270 | 雌激素(總量、懷孕中)試驗系統 |  |  |  |  | Estrogens (total, in pregnancy) test system |  | 1 |
| A.1275 | 雌激素(總量，未懷孕)試驗系統 |  |  |  |  | Estrogens (total, nonpregnancy) test system |  | 1 |
| A.1280 | 雌素酮試驗系統 |  |  |  |  | Estrone test system |  | 1 |
| A.1285 | 睪丸素酮還原型試驗系統 |  |  |  |  | Etiocholanolone test system |  | 1 |
| A.1290 | 脂肪酸試驗系統 |  |  |  |  | Fatty acids test system |  | 1 |
| A.1300 | 卵泡剌激激素試驗系統 |  |  |  |  | Follicle-stimulating hormone test system |  | 1 |
| A.1305 | Formiminoglutamic acid, (FIGLU)試驗系統 |  |  |  |  | Formiminoglutamic acid (FIGLU) test system |  | 1 |
| A.1310 | 半乳糖試驗系統 |  |  |  |  | Galactose test system |  | 1 |
| A.1320 | 胃酸試驗系統 |  |  |  |  | Gastric acidity test system |  | 1 |
| A.1325 | 胃泌素試驗系統 |  |  |  |  | Gastrin test system |  | 1 |
| A.1330 | 球蛋白試驗系統 |  |  |  |  | Globulin test system |  | 1 |
| A.1335 | 升糖素試驗系統 |  |  |  |  | Glucagon test system |  | 1 |
| A.1360 | r-麩胺醯轉移酶(GGT)和同功異 構酶試驗系統 |  |  |  |  | Gamma-glutamyl transpeptidase and isoenzymes test system |  | 1 |
| A.1365 | 麩甘胱試驗系統 |  |  |  |  | Glutathione test system |  | 1 |
| A.1370 | 人體生長激素試驗系統 |  |  |  |  | Human growth hormone test system |  | 1 |
| A.1375 | 組織氨基酸試驗系統 |  |  |  |  | Histidine test system |  | 1 |
| A.1380 | 羥丁酸去氫酵素試驗系統 |  |  |  |  | Hydroxybutyric dehydrogenase test system |  | 1 |
| A.1385 | 17-皮質類脂醇(17-生酮的類脂 醇)試驗系統 |  |  |  |  | 17-Hydroxycorticosteroids (17- ketogenic steroids) test system |  | 1 |
| A.1390 | 5-羥引朵醋酸/血清素試驗系統 |  |  |  |  | 5-Hydroxyindole acetic acid/serotonin test system |  | 1 |
| A.1395 | 17-黃體酯酮試驗系統 |  |  |  |  | 17-Hydroxyprogesterone test system |  | 1 |
| A.1400 | 羥基脯氨酸試驗系統 |  |  |  |  | Hydroxyproline test system |  | 1 |
| A.1405 | 免疫反應胰島素試驗系統 |  |  |  |  | Immunoreactive insulin test system |  | 1 |
| A.1410 | 鐵(非血基質)試驗系統 |  |  |  |  | Iron (non-heme) test system |  | 1 |
| A.1415 | 鐵結合能力試驗系統 |  |  |  |  | Iron-binding capacity test system |  | 1 |
| A.1420 | 同檸檬酸去氫酵素試驗系統 |  |  |  |  | Isocitric dehydrogenase test system |  | 1 |
| A.1430 | 17-酮固醇試驗系統 |  |  |  |  | 17-Ketosteroids test system |  | 1 |
| A.1435 | 酮(非定量)試驗系統 |  |  |  |  | Ketones (nonquantitative) test system |  | 1 |
| A.1440 | 乳酸脫氫酶試驗系統 |  |  |  |  | Lactate dehydrogenase test system |  | 1 |
| A.1450 | 乳酸試驗系統 |  |  |  |  | Lactic acid test system |  | 1 |
| A.1460 | 白胺酸胺肱酶試驗系統 |  |  |  |  | Leucine aminopeptidase test system |  | 1 |
| A.1465 | 脂肪分解酵素試驗系統 |  |  |  |  | Lipase test system |  | 1 |
| A.1470 | 脂肪(總量)試驗系統 |  |  |  |  | Lipid (total) test system |  | 1 |
| A.1475 | 脂蛋白試驗系統 |  |  |  |  | Lipoprotein test system |  | 1 |
| A.1485 | 黃體促素試驗系統 |  |  |  |  | Luteinizing hormone test system |  | 1 |
| A.1490 | 溶菌酵素試驗系統 |  |  |  |  | Lysozyme (muramidase) test system |  | 1 |
| A.1495 | 鎂試驗系統 |  |  |  |  | Magnesium test system |  | 1 |
| A.1500 | 蘋果酸去氫酵素試驗系統 |  |  |  |  | Malic dehydrogenase test system |  | 1 |
| A.1505 | 黏多醣(非定量)試驗系統 |  |  |  |  | Mucopolysaccharides (nonquantitative) test system |  | 1 |
| A.1510 | 亞硝酸鹽(非定量)試驗系統 |  |  |  |  | Nitrite nonquantitative test system |  | 1 |
| A.1515 | 氮(胺基－氮)試驗系統 |  |  |  |  | Nitrogen amino-nitrogen test system |  | 1 |
| A.1520 | 5'-核甘酸酵素試驗系統 |  |  |  |  | 5'-Nucleotidase test system |  | 1 |
| A.1530 | 血漿器官體積計測法試驗系統 |  |  |  |  | Plasma oncometry test system |  | 1 |
| A.1535 | 鳥氨基酸碳醯氨轉移酶試驗系統 |  |  |  |  | Ornithine carbamyl transferase test system |  | 1 |
| A.1540 | 滲透壓試驗系統 |  |  |  |  | Osmolality test system |  | 1 |
| A.1542 | 草酸鹽試驗系統 |  |  |  |  | Oxalate test system |  | 1 |
| A.1550 | 尿酸鹼值(非定量)試驗系統 |  |  |  |  | Urinary pH (nonquantitative) test system |  | 1 |
| A.1560 | 尿苯酮(非定量)試驗系統 |  |  |  |  | Urinary phenylketones (nonquantitative) test system |  | 1 |
| A.1565 | 6-磷糖去氫酵素試驗系統 |  |  |  |  | 6-Phosphogluconate dehydrogenase test system |  | 1 |
| A.1570 | 磷酸己醣同質酵素試驗系統 |  |  |  |  | Phosphohexose isomerase test system |  | 1 |
| A.1575 | 磷脂類試驗系統 |  |  |  |  | Phospholipid test system |  | 1 |
| A.1580 | 亞磷酸(無機)試驗系統 |  |  |  |  | Phosphorus (inorganic) test system |  | 1 |
| A.1590 | 噙咯色原質試驗系統 |  |  |  |  | Porphobilinogen test system |  | 1 |
| A.1595 | 噙咯紫質試驗系統 |  |  |  |  | Porphyrins test system |  | 1 |
| A.1605 | 黃體脂醇試驗系統 |  |  |  |  | Pregnanediol test system |  | 1 |
| A.1610 | Pregnanetriol(化學名)試驗系統 |  |  |  |  | Pregnanetriol test system |  | 1 |
| A.1615 | 孕烯醇酮試驗系統 |  |  |  |  | Pregnenolone test system |  | 1 |
| A.1620 | 黃體脂酮試驗系統 |  |  |  |  | Progesterone test system |  | 1 |
| A.1625 | 催乳素試驗系統 |  |  |  |  | Prolactin (lactogen) test system |  | 1 |
| A.1630 | 蛋白質(化學分離法)試驗系統 |  |  |  |  | Protein (fractionation) test system |  | 1 |
| A.1635 | 總蛋白質試驗系統 |  |  |  |  | Total protein test system |  | 1 |
| A.1640 | 蛋白質結合碘試驗系統 |  |  |  |  | Protein-bound iodine test system |  | 1 |
| A.1645 | 尿蛋白質或白蛋白(非定量)試驗 系統 |  |  |  |  | Urinary protein or albumin (nonquantitative) test system |  | 1 |
| A.1650 | 丙酮酸激酶試驗系統 |  |  |  |  | Pyruvate kinase test system |  | 1 |
| A.1655 | 丙酮酸試驗系統 |  |  |  |  | Pyruvic acid test system |  | 1 |
| A.1660 | 品管材料(分析與非分析) |  |  |  |  | Quality control material (assayed and unassayed) |  | 1 |
| A.1670 | 山梨糖去氫酵素試驗系統 |  |  |  |  | Sorbitol dehydrogenase test system |  | 1 |
| A.1680 | 睪丸脂酮試驗系統 |  |  |  |  | Testosterone test system |  | 1 |
| A.1705 | 三酸甘油脂試驗系統 |  |  |  |  | Triglyceride test system |  | 1 |
| A.1710 | 總三碘甲狀腺素試驗系統 |  |  |  |  | Total triiodothyronine test system |  | 1 |
| A.1715 | 三碘甲狀腺素吸收試驗系統 |  |  |  |  | Triiodothyronine uptake test system |  | 1 |
| A.1720 | 丙醣磷酸同質酵素試驗系統 |  |  |  |  | Triose phosphate isomerase test system |  | 1 |
| A.1725 | 胰蛋白酶試驗系統 |  |  |  |  | Trypsin test system |  | 1 |
| A.1730 | 游離酥氨基酸試驗系統 |  |  |  |  | Free tyrosine test system |  | 1 |
| A.1775 | 尿酸試驗系統 |  |  |  |  | Uric acid test system |  | 1 |
| A.1780 | 尿道結石試驗系統 |  |  |  |  | Urinary calculi (stones) test system |  | 1 |
| A.1785 | 尿道尿膽素鹽(非定量)試驗系統 |  |  |  |  | Urinary urobilinogen (nonquantitative) test system |  | 1 |
| A.1790 | 尿紫質試驗系統 |  |  |  |  | Uroporphyrin test system |  | 1 |
| A.1795 | 梵尼蘭杏仁酸試驗系統 |  |  |  |  | Vanilmandelic acid test system |  | 1 |
| A.1805 | 維生素A試驗系統 |  |  |  |  | Vitamin A test system |  | 1 |
| A.1815 | 維生素E試驗系統 |  |  |  |  | Vitamin E test system |  | 1 |
| A.1820 | 木糖試驗系統 |  |  |  |  | Xylose test system |  | 1 |
| A.2270 | 臨床使用的薄層色層分析系統 |  |  |  |  | Thin-layer chromatography system for clinical use |  | 1 |
| A.3050 | 呼吸中酒精試驗系統 |  |  |  |  | Breath-alcohol test system |  | 1 |
| A.3110 | 銻試驗系統 |  |  |  |  | Antimony test system |  | 1 |
| A.3120 | 砷試驗系統 |  |  |  |  | Arsenic test system |  | 1 |
| A.3220 | 一氧化碳試驗系統 |  |  |  |  | Carbon monoxide test system |  | 1 |
| A.3240 | 膽素酯酵素試驗系統 |  |  |  |  | Cholinesterase test system |  | 1 |
| A.3600 | 汞試驗系統 |  |  |  |  | Mercury test system |  | 1 |
| A.3750 | 奎寧試驗系統 |  |  |  |  | Quinine test system |  | 1 |
| A.3850 | 磺胺試驗系統 |  |  |  |  | Sulfonamide test system |  | 1 |
| 二、 | 血液學及病理學裝置(除量測儀器外) |  |  |  |  |  |  |  |
|  | (HEMATOLOGY AND PATHOLOGY DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  |  |  |  | 英文名稱 |  | 等級 |
| B.1850 | 染料及化學溶液染料 |  |  |  |  | Dye and chemical solution stains |  | 1 |
| B.1860 | 免疫病理組織化學試劑與套組 |  |  |  |  | Immunohistochemistry reagents and kits |  | 1 |
| B.2220 | 合成細胞和組織培養基及成份 |  |  |  |  | Synthetic cell and tissue culture media and components |  | 1 |
| B.2260 | 染色體培養組 |  |  |  |  | Chromosome culture kit |  | 1 |
| B.2280 | 經培養之動物和人體細胞 |  |  |  |  | Cultured animal and human cells |  | 1 |
| B.2360 | 黴漿菌屬偵測培養基及成份 |  |  |  |  | Mycoplasma detection media and components |  | 1 |
| B.2875 | 平衡鹽溶液或配方 |  |  |  |  | Balanced salt solutions or formulations |  | 1 |
| B.4020 | 分析特定試劑 |  |  |  |  | Analyte specific reagents |  | 1 |
| B.4400 | 酵素製劑 |  |  |  |  | Enzyme preparations |  | 1 |
| B.5800 | 自動沉降速率裝置 |  |  |  |  | Automated sedimentation rate device |  | 1 |
| B.6100 | 流血時間測量裝置 |  |  |  |  | Bleeding time device |  | 1 |
| B.6150 | 毛細血管血液收集管 |  |  |  |  | Capillary blood collection tube |  | 1 |
| B.6160 | 手動血球計數裝置 |  |  |  |  | Manual blood cell counting device |  | 1 |
| B.6400 | 血球容積測量裝置 |  |  |  |  | Hematocrit measuring device |  | 1 |
| B.6600 | 滲透脆性試驗 |  |  |  |  | Osmotic fragility test |  | 1 |
| B.6700 | 紅血球沈澱速率試驗 |  |  |  |  | Erythrocyte sedimentation rate test |  | 1 |
| B.7040 | 三磷酸腺苷釋出分析 |  |  |  |  | Adenosine triphosphate release assay |  | 1 |
| B.7660 | 白血球鹼性磷酸鹽酵素試驗 |  |  |  |  | Leukocyte alkaline phosphatase test |  | 1 |
| B.7675 | 白血球過氧化酵素試驗 |  |  |  |  | Leukocyte peroxidase test |  | 1 |
| B.7900 | 血栓形成質產生試驗 |  |  |  |  | Thromboplastin generation test |  | 1 |
| B.8200 | 血球稀釋劑 |  |  |  |  | Blood cell diluent |  | 1 |
| B.8500 | 淋巴球分離培養基 |  |  |  |  | Lymphocyte separation medium |  | 1 |
| B.8540 | 紅血球溶解劑 |  |  |  |  | Red cell lysing reagent |  | 1 |
| B.8950 | 勒塞耳氏毒蛇之蛇毒反應劑 |  |  |  |  | Russell viper venom reagent |  | 1 |
| B.9050 | 血庫供應 |  |  |  |  | Blood bank supplies |  | 1 |
| B.9125 | 真空血液收集系統 |  |  |  |  | Vacuum-assisted blood collection system |  | 1 |
| B.9225 | 體外診斷用的細胞冷凍設備及反應劑 |  |  |  |  | Cell-freezing apparatus and reagents for in vitro diagnostic use |  | 1 |
| B.9320 | 確定比重所用的硫酸銅溶液 |  |  |  |  | Copper sulfate solution for specific gravity determinations |  | 1 |
| B.9550 | 植物凝血素及凝血前素 |  |  |  |  | Lectins and protectins |  | 1 |
| B.9575 | 保存血小板濃縮液之容器 |  |  |  |  | Environmental chamber for storage of platelet concentrate |  | 1 |
| B.9600 | 體外診斷用的強化培養基 |  |  |  |  | Potentiating media for in vitro diagnostic use |  | 1 |
| B.9700 | 血液保存之冰箱與冷凍箱 |  |  |  |  | Blood storage refrigerator and blood storage freezer |  | 1 |
| B.9750 | 加熱密封器材 |  |  |  |  | Heat-sealing device |  | 1 |
| 三、 | 免疫學及微生物學裝置(除量測儀器外) |  |  |  |  |  |  |  |
|  | (IMMUNOLOGY AND MICROBIOLOGY DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  |  |  |  | 英文名稱 |  | 等級 |
| C.0003 | 螺旋桿菌屬血清試劑 |  |  |  |  | Helicobacter spp. serological reagents |  | 1 |
| C.2160 | 凝血酵素血漿 |  |  |  |  | Coagulase plasma |  | 1 |
| C.2300 | 多功能培養基 |  |  |  |  | Multipurpose culture medium |  | 1 |
| C.2320 | 鑑別培養基 |  |  |  |  | Differential culture medium |  | 1 |
| C.2330 | 集菌培養基 |  |  |  |  | Enriched culture medium |  | 1 |
| C.2350 | 微生物分析培養基 |  |  |  |  | Microbiological assay culture medium |  | 1 |
| C.2360 | 選擇性培養基 |  |  |  |  | Selective culture medium |  | 1 |
| C.2390 | 輸送培養基 |  |  |  |  | Transport culture medium |  | 1 |
| C.2450 | 培養基之添加物 |  |  |  |  | Supplement for culture media |  | 1 |
| C.2480 | 培養基的品質管制器材組 |  |  |  |  | Quality control kit for culture media |  | 1 |
| C.2500 | 微滴定稀釋及分配器材 |  |  |  |  | Microtiter diluting and dispensing device |  | 1 |
| C.2580 | 產氣器材 |  |  |  |  | Gas-generating device |  | 1 |
| C.2600 | Wood氏螢光燈 |  |  |  |  | Wood's fluorescent lamp |  | 1 |
| C.2660 | 微生物鑑別及測定器材 |  |  |  |  | Microorganism differentiation and identification device |  | 1 |
| C.2900 | 微生物樣本收集及輸送器材 |  |  |  |  | Microbiological specimen collection and transport device |  | 1 |
| C.3010 | Acinetobacter calcoaceticus血清 試劑 |  |  |  |  | Acinetobacter calcoaceticus serological reagents |  | 1 |
| C.3020 | 腺病毒血清試劑 |  |  |  |  | Adenovirus serological reagents |  | 1 |
| C.3035 | 亞歷桑納屬血清試劑 |  |  |  |  | Arizona spp.serological reagents |  | 1 |
| C.3040 | 麴菌屬血清試劑 |  |  |  |  | Aspergillus spp. serological reagents |  | 1 |
| C.3060 | 皮炎芽生菌血清試劑 |  |  |  |  | Blastomyces dermatitidis serological reagents |  | 1 |
| C.3065 | 博德氏球桿菌屬血清試劑 |  |  |  |  | Bordetella spp. serological reagents |  | 1 |
| C.3085 | 布魯氏菌屬血清反應劑 |  |  |  |  | Brucella spp. serological reagents |  | 1 |
| C.3110 | 胎兒彎曲畸形菌屬血清試劑 |  |  |  |  | Campylobacter fetus serological reagents |  | 1 |
| C.3120 | 披衣菌屬血清試劑 |  |  |  |  | Chlamydia serological reagents |  | 1 |
| C.3125 | 產檸檬酸菌屬血清試劑 |  |  |  |  | Citrobacter spp.serological reagents |  | 1 |
| C.3135 | 厭酷球孢子菌血清試劑 |  |  |  |  | Coccidioides immitis serological reagents |  | 1 |
| C.3140 | 棒狀桿菌屬血清試劑 |  |  |  |  | Corynebacterium spp.serological reagents |  | 1 |
| C.3145 | 柯沙奇病毒血清試劑 |  |  |  |  | Coxsackievirus serological reagents |  | 1 |
| C.3165 | 新形隱球菌屬血清試劑 |  |  |  |  | Cryptococcus neoformans serological reagents |  | 1 |
| C.3200 | 胞虫囊血清試劑 |  |  |  |  | Echinococcus spp. serological reagents |  | 1 |
| C.3205 | Echo病毒血清試劑 |  |  |  |  | Echovirus serological reagents |  | 1 |
| C.3220 | 溶組織阿米巴血清試劑 |  |  |  |  | Entamoeba histolytica serological reagents |  | 1 |
| C.3235 | EB病毒血清試劑 |  |  |  |  | Epstein-Barr virus serological reagents |  | 1 |
| C.3240 | 馬的腦脊髓炎病毒血清試劑 |  |  |  |  | Equine encephalomyelitis virus serological reagents |  | 1 |
| C.3250 | 豬丹毒桿菌血清試劑 |  |  |  |  | Erysipelothrix rhusiopathiae serological reagents |  | 1 |
| C.3255 | 大腸桿菌血清試劑 |  |  |  |  | Escherichia coli serological reagents |  | 1 |
| C.3270 | 黃質菌屬血清試劑 |  |  |  |  | Flavobacterium spp. serological reagents |  | 1 |
| C.3280 | 土拉熱桿菌病血清試劑 |  |  |  |  | Francisella tularensis serological reagents |  | 1 |
| C.3300 | 嗜血桿菌屬血清試劑 |  |  |  |  | Haemophilus spp. serological reagents |  | 1 |
| C.3320 | 莢膜組織孢漿菌血清試劑 |  |  |  |  | Histoplasma capsulatum serological ragents |  | 1 |
| C.3330 | 流行性感冒病毒血清試劑 |  |  |  |  | Influenza virus serological reagents |  | 1 |
| C.3340 | 克雷白氏桿菌屬血清試劑 |  |  |  |  | Klebsiella spp. serological reagents |  | 1 |
| C.3350 | 鉤端螺旋菌屬血清試劑 |  |  |  |  | Leptospira spp. serological reagents |  | 1 |
| C.3355 | 李司特氏菌屬血清試劑 |  |  |  |  | Listeria spp. serological reagents |  | 1 |
| C.3360 | 淋巴球性脈絡叢腦膜炎病毒血清 試劑 |  |  |  |  | Lymphocytic chorimeningitis virus serological reagents |  | 1 |
| C.3370 | 結核桿菌免疫螢光試劑 |  |  |  |  | Mycobacterium tuberculosis immunofluorescent reagents |  | 1 |
| C.3375 | 黴漿菌屬血清試劑 |  |  |  |  | Mycoplasma spp. serological reagents |  | 1 |
| C.3380 | 腮腺炎病毒血清試劑 |  |  |  |  | Mumps virus serological reagents |  | 1 |
| C.3400 | 副流行性感冒病毒血清試劑 |  |  |  |  | Parainfluenza virus serological reagents |  | 1 |
| C.3405 | 小兒麻痺病毒血清試劑 |  |  |  |  | Poliovirus serological reagents |  | 1 |
| C.3410 | 變形桿菌屬(Weil-Felix)血清試劑 |  |  |  |  | Proteus spp. (Weil-Felix) serological reagents |  | 1 |
| C.3415 | 假單胞菌屬血清試劑 |  |  |  |  | Pseudomonas spp. serological reagents |  | 1 |
| C.3470 | 孤腸呼病毒血清試劑 |  |  |  |  | Reovirus serological reagents |  | 1 |
| C.3480 | 呼吸道融合細胞病毒血清試劑 |  |  |  |  | Respiratory syncytial virus |  | 1 |
|  |  |  |  |  |  | serological reagents |  |  |
| C.3490 | 鼻病毒血清試劑 |  |  |  |  | Rhinovirus serological reagents |  | 1 |
| C.3500 | 立克次體血清試劑 |  |  |  |  | Rickettsia serological reagents |  | 1 |
| C.3520 | 麻疹病毒血清試劑 |  |  |  |  | Rubeola (measles) virus serological reagents |  | 1 |
| C.3550 | 沙門氏菌屬血清試劑 |  |  |  |  | Salmonella spp. serological reagents |  | 1 |
| C.3600 | 血吸虫屬血清試劑 |  |  |  |  | Schistosoma spp. serological |  | 1 |
|  |  |  |  |  |  | reagents |  |  |
| C.3630 | 沙雷氏菌屬血清試劑 |  |  |  |  | Serratia spp. serological reagents |  | 1 |
| C.3660 | 志賀氏桿菌屬血清試劑 |  |  |  |  | Shigella spp.serological reagents |  | 1 |
| C.3680 | 申克氏孢子絲菌 |  |  |  |  | Sporothrix schenckii serological reagents |  | 1 |
| C.3700 | 金黃色葡萄球菌血清試劑 |  |  |  |  | Staphylococcus aureus serological reagents |  | 1 |
| C.3720 | 鏈球菌屬外酵素試劑 |  |  |  |  | Streptococcus spp. exoenzyme reagents |  | 1 |
| C.3740 | 鏈球菌屬血清試劑 |  |  |  |  | Streptococcus spp. serological reagents |  | 1 |
| C.3850 | 旋毛虫血清試劑 |  |  |  |  | Trichinella spiralis serological reagents |  | 1 |
| C.3870 | 錐虫屬血清試劑 |  |  |  |  | Trypanosoma spp. serological reagents |  | 1 |
| C.3930 | 霍亂弧菌血清試劑 |  |  |  |  | Vibrio cholerae serological reagents |  | 1 |
| C.4100 | 補體試劑 |  |  |  |  | Complement reagent |  | 1 |
| C.5040 | 白蛋白免疫試驗系統 |  |  |  |  | Albumin immunological test system |  | 1 |
| C.5060 | 前白蛋白免疫試驗系統 |  |  |  |  | Prealbumin immunological test system |  | 1 |
| C.5065 | 人體同種異型標記免疫試驗系統 |  |  |  |  | Human allotypic marker immunological test system |  | 1 |
| C.5160 | β-球蛋白免疫試驗系統 |  |  |  |  | Beta-globulin immunological test system |  | 1 |
| C.5170 | 母乳免疫試驗系統 |  |  |  |  | Breast milk immunological test system |  | 1 |
| C.5200 | 醣脫水酵素B及C免疫試驗系統 |  |  |  |  | Carbonic anhydrase B and C immunological test system |  | 1 |
| C.5220 | Cohn fraction II(一種蛋白質分離 法)免疫試驗系統 |  |  |  |  | Cohn fraction II immunological test system |  | 1 |
| C.5230 | 初乳免疫試驗系統 |  |  |  |  | Colostrum immunological test system |  | 1 |
| C.5320 | 破壞素B因子免疫試驗系統 |  |  |  |  | Properdin factor B immunological test system |  | 1 |
| C.5330 | 第十三，A，S，因子免疫試驗 系統 |  |  |  |  | Factor XIII, A, S, immunological test system |  | 1 |
| C.5360 | Cohn fraction IV免疫試驗系統 |  |  |  |  | Cohn fraction IV immunological test system |  | 1 |
| C.5370 | Cohn fraction V免疫試驗系統 |  |  |  |  | Cohn fraction V immunological test system |  | 1 |
| C.5380 | 游離分泌補體免疫試驗系統 |  |  |  |  | Free secretory component immunological test system |  | 1 |
| C.5400 | α-球蛋白免疫試驗系統 |  |  |  |  | Alpha-globulin immunological test system |  | 1 |
| C.5420 | α-1-醣蛋白免疫試驗系統 |  |  |  |  | Alpha-1-glycoproteins immunological test system |  | 1 |
| C.5425 | α-2-醣蛋白免疫試驗系統 |  |  |  |  | Alpha-2-glycoproteins immunological test system |  | 1 |
| C.5430 | β-2-醣蛋白I免疫試驗系統 |  |  |  |  | Beta-2-glycoprotein I immunological test system |  | 1 |
| C.5440 | β-2-醣蛋白III免疫試驗系統 |  |  |  |  | Beta-2-glycoprotein III immunological test system |  | 1 |
| C.5460 | 結合球蛋白免疫試驗系統 |  |  |  |  | Haptoglobin immunological test system |  | 1 |
| C.5490 | 凝血酵素免疫試驗系統 |  |  |  |  | Hemopexin immunological test system |  | 1 |
| C.5520 | 免疫球蛋白G(Fab特定片段)免疫 試驗系統 |  |  |  |  | Immunoglobulin G (Fab fragment specific) immunological test system |  | 1 |
| C.5530 | 免疫球蛋白G(Fc特定片段)免疫 試驗系統 |  |  |  |  | Immunoglobulin G (Fc fragment specific) immunological test system |  | 1 |
| C.5540 | 免疫球蛋白G(Fd特定片段)免疫 試驗系統 |  |  |  |  | Immunoglobulin G (Fd fragment specific) immunological test system |  | 1 |
| C.5560 | 乳酸去氫免疫試驗系統 |  |  |  |  | Lactic dehydrogenase immunological test system |  | 1 |
| C.5570 | 乳膽鐵質免疫試驗系統 |  |  |  |  | Lactoferrin immunological test system |  | 1 |
| C.5590 | 脂蛋白X免疫試驗系統 |  |  |  |  | Lipoprotein X immunological test system |  | 1 |
| C.5700 | 人類全血漿或血清免疫試驗系統 |  |  |  |  | Whole human plasma or serum immunological test system |  | 1 |
| C.5715 | 胞漿素原免疫試驗系統 |  |  |  |  | Plasminogen immunological test system |  | 1 |
| C.5735 | 前凝血酵素免疫試驗系統 |  |  |  |  | Prothrombin immunological test system |  | 1 |
| C.5765 | 核黃素結合蛋白免疫試驗系統 |  |  |  |  | Retinol-binding protein immunological test system |  | 1 |
| C.5800 | 精液(精子)免疫試驗系統 |  |  |  |  | Seminal fluid (sperm) immunological test system |  | 1 |
| C.5860 | 全脊髓液免疫試驗系統 |  |  |  |  | Total spinal fluid immunological test system |  | 1 |
| C.5890 | α間胰蛋白抑制劑免疫試驗系統 |  |  |  |  | Inter-alpha trypsin inhibitor immunological test system |  | 1 |
| 四、 | 麻醉學科用裝置 |  |  |  |  |  |  |  |
|  | (ANESTHESIOLOGY DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  | 等級 |
| D.1100 | 動脈血液取樣組 |  | Arterial blood sampling kit |  |  |  |  | 1 |
| D.1575 | 氣體收集容器 |  | Gas collection vessel |  |  |  |  | 1 |
| D.1910 | 食道聽診器 |  | Esophageal stethoscope |  |  |  |  | 1 |
| D.1930 | 食道聽診器探頭 |  | Stethoscope head |  |  |  |  | 1 |
| D.5100 | 鼻咽氣道管 |  | Nasopharyngeal airway |  |  |  |  | 1 |
| D.5110 | 口咽氣道管 |  | Oropharyngeal airway |  |  |  |  | 1 |
| D.5220 | 吹氣瓶 |  | Blow bottle |  |  |  |  | 1 |
| D.5240 | 麻醉呼吸管路 |  | Anesthesia breathing circuit |  |  |  |  | 1 |
| D.5280 | 呼吸管路支撐物 |  | Breathing tube support |  |  |  |  | 1 |
| D.5300 | 二氧化碳吸收劑 |  | Carbon dioxide absorbent |  |  |  |  | 1 |
| D.5310 | 二氧化碳吸收器 |  | Carbon dioxide absorber |  |  |  |  | 1 |
| D.5320 | 儲氣囊 |  | Reservoir bag |  |  |  |  | 1 |
| D.5340 | 經鼻氧氣套管 |  | Nasal oxygen cannula |  |  |  |  | 1 |
| D.5350 | 經鼻氧氣導管 |  | Nasal oxygen catheter |  |  |  |  | 1 |
| D.5375 | 熱及濕氣凝結器(人工鼻) |  | Heat and moisture condenser (artificial nose) |  |  |  |  | 1 |
| D.5460 | 家用治療潮濕器 |  | Therapeutic humidifier for home use |  |  |  |  | 1 |
| D.5530 | 可彎曲式喉頭鏡 |  | Flexible laryngoscope |  |  |  |  | 1 |
| D.5540 | 硬式喉頭鏡 |  | Rigid laryngoscope |  |  |  |  | 1 |
| D.5550 | 麻醉氣體面罩 |  | Anesthetic gas mask |  |  |  |  | 1 |
| D.5560 | 氣體面罩頭套帶 |  | Gas mask head strap |  |  |  |  | 1 |
| D.5570 | 非重吸入式呼吸面罩 |  | Nonrebreathing mask |  |  |  |  | 1 |
| D.5580 | 氧氣面罩 |  | Oxygen mask |  |  |  |  | 1 |
| D.5590 | 排氣面罩 |  | Scavenging mask |  |  |  |  | 1 |
| D.5600 | Venturi面罩 |  | Venturi mask |  |  |  |  | 1 |
| D.5620 | 呼吸咬嘴 |  | Breathing mouthpiece |  |  |  |  | 1 |
| D.5640 | 非呼吸用醫藥噴霧器 |  | Medicinal nonventilatory nebulizer (atomizer) |  |  |  |  | 1 |
| D.5675 | 再吸入裝置 |  | Rebreathing device |  |  |  |  | 1 |
| D.5700 | 非動力式氧氣帳 |  | Nonpowered oxygen tent |  |  |  |  | 1 |
| D.5770 | 氣管管路固定裝置 |  | Tracheal tube fixation device |  |  |  |  | 1 |
| D.5780 | 管路導引鉗 |  | Tube introduction forceps |  |  |  |  | 1 |
| D.5790 | 氣管內管探針 |  | Tracheal tube stylet |  |  |  |  | 1 |
| D.5810 | 氣道連接器 |  | Airway connector |  |  |  |  | 1 |
| D.5860 | 壓力管路及其附件 |  | Pressure tubing and accessories |  |  |  |  | 1 |
| D.5975 | 呼吸器管路 |  | Ventilator tubing |  |  |  |  | 1 |
| D.5995 | T形引流器(集水器) |  | Tee drain (water trap) |  |  |  |  | 1 |
| D.6810 | 氣管支氣管抽吸導管 |  | Tracheobronchial suction catheter |  |  |  |  | 1 |
| D.6885 | 醫用氣體接頭組 |  | Medical gas yoke assembly |  |  |  |  | 1 |
| 五、 | 心臟血管用裝置 |  |  |  |  |  |  |  |
|  | (CARDIOVASCULAR DEVICES ) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  | 等級 |
| E.1875 | 聽診器 |  | Stethoscope |  |  |  |  | 1 |
| E.3650 | 心律調節器之聚合物網狀袋 |  | Pacemaker polymeric mesh bag |  |  |  |  | 1 |
| E.3730 | 心律調節器維修工具 |  | Pacemaker service tools |  |  |  |  | 1 |
| E.3935 | 心臟瓣膜彌補物之支撐物 |  | Prosthetic heart valve holder |  |  |  |  | 1 |
| E.4200 | 心肺血管繞道術輔助設備 |  | Cardiopulmonary bypass accessory equipment |  |  |  |  | 1 |
| E.4500 | 心臟血管外科器械 |  | Cardiovascular surgical instruments |  |  |  |  | 1 |
| 六、 | 牙科裝置 |  |  |  |  |  |  |  |
|  | (DENTAL DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  |  |  | 英文名稱 |  |  | 等級 |
| F.0001 | 排齦線 |  |  |  | Retraction cord |  |  | 1 |
| F.1730 | 牙髓測試器用電極膠 |  |  |  | Electrode gel for pulp tester |  |  | 1 |
| F.1820 | 牙科用X光片照射排列裝置 |  |  |  | Dental x-ray exposure alignment device |  |  | 1 |
| F.1840 | 牙科用X光片位置指示裝置 |  |  |  | Dental x-ray position indicating device |  |  | 1 |
| F.1850 | 鉛線位置指示器 |  |  |  | Lead-lined position indicator |  |  | 1 |
| F.2050 | 牙科超音波描記裝置 |  |  |  | Dental sonography device |  |  | 1 |
| F.2060 | 頷骨輪廓標記裝置 |  |  |  | Jaw tracking device |  |  | 1 |
| F.3100 | 牙科用和汞器 |  |  |  | Dental amalgamator |  |  | 1 |
| F.3110 | 牙科用汞齊膠囊 |  |  |  | Dental amalgam capsule |  |  | 1 |
| F.3130 | 成型鉤 |  |  |  | Preformed anchor |  |  | 1 |
| F.3140 | 樹脂塗敷器 |  |  |  | Resin applicator |  |  | 1 |
| F.3165 | 精密接著體 |  |  |  | Precision attachment |  |  | 1 |
| F.3240 | 牙科用圓頭銼 |  |  |  | Dental bur |  |  | 1 |
| F.3275 | 牙科用水泥(士敏汀) |  |  |  | Dental cement |  |  | 1 |
| F.3285 | 預成型牙鉤 |  |  |  | Preformed clasp |  |  | 1 |
| F.3330 | 成型牙冠 |  |  |  | Preformed crown |  |  | 1 |
| F.3350 | 黃金或不銹鋼咬頭 |  |  |  | Gold or stainless steel cusp |  |  | 1 |
| F.3360 | 成型咬頭 |  |  |  | Preformed cusp |  |  | 1 |
| F.3400 | 梧桐膠合硼酸鈉含或不含阿拉伯 樹膠 |  |  |  | Karaya and sodium borate with or without acacia denture adhesive |  |  | 1 |
| F.3410 | 氧化乙烯聚合物和/或羧基甲基 纖維素鈉假牙黏著劑 |  |  |  | Ethylene oxide homopolymer and/or carboxymethyl-cellulose sodium denture adhesive |  |  | 1 |
| F.3450 | 氧化乙烯聚合物或印度樹膠假牙 黏著劑 |  |  |  | Ethylene oxide homopolymer and/or karaya denture adhesive |  |  | 1 |
| F.3490 | 胺基甲基纖維素鈉、和/或聚乙 烯甲基醚順丁烯二酸鈣鈉複鹽假 牙黏著劑 |  |  |  | Carboxymethylcellulose sodium and/or polyvinylmethylether maleic acid calcium-sodium double salt denture adhesive |  |  | 1 |
| F.3520 | 不需處方之假牙清潔劑 |  |  |  | OTC denture cleanser |  |  | 1 |
| F.3530 | 機械式假牙清潔器 |  |  |  | Mechanical denture cleaner |  |  | 1 |
| F.3540 | 假牙襯墊 |  |  |  | OTC denture cushion or pad |  |  | 1 |
| F.3580 | 成形金屬假牙床 |  |  |  | Preformed gold denture tooth |  |  | 1 |
| F.3670 | 樹脂印模牙托材 |  |  |  | Resin impression tray material |  |  | 1 |
| F.3740 | 保持釘和固定夾板 |  |  |  | Retentive and splinting pin |  |  | 1 |
| F.3810 | 根管中心柱釘 |  |  |  | Root canal post |  |  | 1 |
| F.3830 | 根管紙針 |  |  |  | Endodontic paper point |  |  | 1 |
| F.3840 | 根管銀針 |  |  |  | Endodontic silver point |  |  | 1 |
| F.3850 | 馬來膠 |  |  |  | Gutta percha |  |  | 1 |
| F.3900 | 有金屬鑲嵌的人工後牙 |  |  |  | Posterior artificial tooth with a metal insert |  |  | 1 |
| F.3910 | 人工牙的底和面 |  |  |  | Backing and facing for an artificial tooth |  |  | 1 |
| F.3980 | 牙齒骨內植入物附件 |  |  |  | Endosseous dental implant accessories |  |  | 1 |
| F.4130 | 口內牙鑽頭 |  |  |  | Intraoral dental drill |  |  | 1 |
| F.4200 | 牙科手機及其附件 |  |  |  | Dental handpiece and accessories |  |  | 1 |
| F.4535 | 牙科用鑽石器械 |  |  |  | Dental diamond instrument |  |  | 1 |
| F.4565 | 牙科手用器械 |  |  |  | Dental hand instrument |  |  | 1 |
| F.4620 | 光纖維牙科用光源 |  |  |  | Fiber optic dental light |  |  | 1 |
| F.4630 | 牙科用手術燈 |  |  |  | Dental operating light |  |  | 1 |
| F.4730 | 牙科用注射針 |  |  |  | Dental injecting needle |  |  | 1 |
| F.5410 | 牙科矯正裝置及其附件 |  |  |  | Orthodontic appliance and accessories |  |  | 1 |
| F.5525 | 成形牙齒定位器 |  |  |  | Preformed tooth positioner |  |  | 1 |
| F.6010 | 研磨裝置及其附件 |  |  |  | Abrasive device and accessories |  |  | 1 |
| F.6030 | 口腔研磨磨光劑 |  |  |  | Oral cavity abrasive polishing agent |  |  | 1 |
| F.6050 | 唾液吸收器 |  |  |  | Saliva absorber |  |  | 1 |
| F.6100 | 麻醉劑加溫器 |  |  |  | Anesthetic warmer |  |  | 1 |
| F.6140 | 咬合紙 |  |  |  | Articulation paper |  |  | 1 |
| F.6200 | 基底塗料 |  |  |  | Base plate shellac |  |  | 1 |
| F.6250 | 牙科治療椅及其附件 |  |  |  | Dental chair and accessories |  |  | 1 |
| F.6290 | 預防杯形物 |  |  |  | Prophylaxis cup |  |  | 1 |
| F.6300 | 橡皮障及其附件 |  |  |  | Rubber dam and accessories |  |  | 1 |
| F.6475 | 漂白牙齒的熱源 |  |  |  | Heat source for bleaching teeth |  |  | 1 |
| F.6570 | 印模管 |  |  |  | Impression tube |  |  | 1 |
| F.6640 | 牙科手術裝置及其附件 |  |  |  | Dental operative unit and accessories |  |  | 1 |
| F.6710 | 水熱式滅菌器 |  |  |  | Boiling water sterilizer |  |  | 1 |
| F.6870 | 拋棄式塗氟用牙托 |  |  |  | Disposable fluoride tray |  |  | 1 |
| F.6880 | 成形印模牙托 |  |  |  | Preformed impression tray |  |  | 1 |
| F.6890 | 口內牙科用臘 |  |  |  | Intraoral dental wax |  |  | 1 |
| 七、 | 耳鼻喉科用裝置 |  |  |  |  |  |  |  |
|  | (EAR,NOSE,AND THORAT DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  | 等級 |
| G.1100 | 聽力檢查耳機軟墊 |  | Earphone cushion for audiometric testing |  |  |  |  | 1 |
| G.1600 | 嗅覺測試裝置 |  | Olfactory test device |  |  |  |  | 1 |
| G.1925 | Toynbee氏耳咽管功能診斷管 |  | Toynbee diagnostic tube |  |  |  |  | 1 |
| G.3300 | 助聽器 |  | Hearing aid |  |  |  |  | 1 |
| G.3540 | 聽小骨置換物修正用器械 |  | Prosthesis modification instrument for ossicular replacement surgery |  |  |  |  | 1 |
| G.3900 | 鼻腔擴大器 |  | Nasal dilator |  |  |  |  | 1 |
| G.4100 | 止鼻血用氣球 |  | Epistaxis balloon |  |  |  |  | 1 |
| G.4140 | 耳鼻喉科用圓銼 |  | Ear, nose, and throat bur |  |  |  |  | 1 |
| G.4175 | 鼻咽部導管 |  | Nasopharyngeal catheter |  |  |  |  | 1 |
| G.4350 | 耳鼻喉光纖光源及載具 |  | Ear, nose, and throat fiberoptic light source and carrier |  |  |  |  | 1 |
| G.4420 | 耳鼻喉手動式外科器械 |  | Ear, nose, and throat manual surgical instrument |  |  |  |  | 1 |
| G.4750 | 喉頭閃頻內視鏡 |  | Laryngostroboscope |  |  |  |  | 1 |
| G.4770 | 耳鏡 |  | Otoscope |  |  |  |  | 1 |
| G.4780 | 鼻腔內固定夾板 |  | Intranasal splint |  |  |  |  | 1 |
| G.4800 | 骨粒子收集器 |  | Bone Particle collector |  |  |  |  | 1 |
| G.5220 | 耳鼻喉佈施藥裝置 |  | Ear, nose, and throat drug administration device |  |  |  |  | 1 |
| G.5300 | 耳鼻喉檢查及治療檯 |  | Ear, nose, and throat examination and treatment unit |  |  |  |  | 1 |
| G.5550 | 動力式鼻沖洗器 |  | Powered nasal irrigator |  |  |  |  | 1 |
| G.5800 | 鼻外固定板 |  | External nasal splint |  |  |  |  | 1 |
| G.5840 | 口吃矯正器材 |  | Antistammering device |  |  |  |  | 1 |
| 八、 | 胃腸病學-泌尿學科用裝置 |  |  |  |  |  |  |  |
|  | (GASTROENTROLOGY-UROLOGY DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  | 等級 |
| H.1075 | 腸胃科-泌尿科生檢器械 |  | Gastroenterology-urology biopsy instrument |  |  |  |  | 1 |
| H.4530 | 胃腸科-泌尿科光纖牽引器 |  | Gastroenterolgy-urology fiberoptic retractor |  |  |  |  | 1 |
| H.4560 | 肋骨障 |  | Ribdam |  |  |  |  | 1 |
| H.4590 | 連接尿道用探條 |  | Interlocking urethral sound |  |  |  |  | 1 |
| H.4730 | 手動式胃腸科-泌尿科手術器械 及其附件 |  | Manual gastroenterolgoy-urology surgical instrument and accessories |  |  |  |  | 1 |
| H.4890 | 泌尿手術檯及其附件 |  | Urological table and accessories |  |  |  |  | 1 |
| H.5030 | 自制式迴腸造口術用導管 |  | Continent ileostomy catheter |  |  |  |  | 1 |
| H.5090 | 恥骨上位的導尿管及其附件 |  | Suprapubic urological catheter and accessories |  |  |  |  | 1 |
| H.5130 | 泌尿導管及其附件 |  | Urological catheter and accessories |  |  |  |  | 1 |
| H.5160 | 男性尿道夾 |  | Urological clamp for males |  |  |  |  | 1 |
| H.5210 | 灌腸組套 |  | Enema kit |  |  |  |  | 1 |
| H.5450 | 直腸擴張器 |  | Rectal dilator |  |  |  |  | 1 |
| H.5520 | 尿道擴張器 |  | Urethral dilator |  |  |  |  | 1 |
| H.5900 | 造口術用袋及其附件 |  | Ostomy pouch and accessories |  |  |  |  | 1 |
| H.5970 | 疝脫支撐器 |  | Hernia support |  |  |  |  | 1 |
| H.5980 | 胃腸管及其附件 |  | Gastrointestinal tube and accessories |  |  |  |  | 1 |
| 九、 | 一般及整型外科手術裝置 |  |  |  |  |  |  |  |
|  | (GENERAL AND PLASTIC SURGERY DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  |  | 英文名稱 |  |  |  | 等級 |
| I.1800 | 檢查鏡及其附件 |  |  | Speculum and accessories |  |  |  | 1 |
| I.3250 | 體外顏面骨折固定裝置 |  |  | External facial fracture fixation appliance |  |  |  | 1 |
| I.3750 | 體外彌補物之黏貼物 |  |  | External prosthesis adhesive |  |  |  | 1 |
| I.3800 | 體外美容用修復彌補物 |  |  | External aesthetic restoration prosthesis |  |  |  | 1 |
| I.3900 | 膨脹式四肢用夾板 |  |  | Inflatable extremity splint |  |  |  | 1 |
| I.3910 | 非膨脹式四肢用夾板 |  |  | Noninflatable extremity splint |  |  |  | 1 |
| I.3925 | 整形外科手術組套及其附件 |  |  | Plastic surgery kit and accessories |  |  |  | 1 |
| I.4014 | 外部使用非吸收式紗布或海綿球 |  |  | Nonresorbable gauze/sponge for external use |  |  |  | 1 |
| I.4018 | 親水性創傷覆蓋材 |  |  | Hydrophilic wound dressing |  |  |  | 1 |
| I.4020 | 閉合用傷口/燒燙傷敷料 |  |  | Occlusive wound/burn dressing |  |  |  | 1 |
| I.4025 | 矽膠片 |  |  | Silicone sheeting |  |  |  | 1 |
| I.4022 | 水性創傷與燒傷覆蓋材 |  |  | Hydrogel wound dressing and burn dressing |  |  |  | 1 |
| I.4040 | 外科手術用衣物（外科手術衣及 面罩） |  |  | Surgical apparel(Surgical gowns and surgical masks) |  |  |  | 1 |
| I.4100 | 器官袋 |  |  | Organ bag |  |  |  | 1 |
| I.4160 | 外科手術用照相機及其附件 |  |  | Surgical camera and accessories |  |  |  | 1 |
| I.4200 | 導入/引流導管及其附件 |  |  | Introduction/drainage catheter and accessories |  |  |  | 1 |
| I.4320 | 可拆除式皮膚夾 |  |  | Removable skin clip |  |  |  | 1 |
| I.4380 | 覆巾用黏貼物 |  |  | Drape adhesive |  |  |  | 1 |
| I.4440 | 眼墊(Eye pad) |  |  | Eye pad |  |  |  | 1 |
| I.4450 | 體內用不被吸收紗布 |  |  | Nonabsorbable gauze for internal use |  |  |  | 1 |
| I.4470 | 手術用手套乳劑 |  |  | Surgeon's gloving cream |  |  |  | 1 |
| I.4660 | 皮膚標記用筆 |  |  | Skin marker |  |  |  | 1 |
| I.4680 | 非動力式，單一病人使用，可攜 帶式之抽吸器具 |  |  | Nonpowered,single patient,portable suction apparatus |  |  |  | 1 |
| I.4700 | 外科顯微鏡及其附件 |  |  | Surgical microscope and accessories |  |  |  | 1 |
| I.4730 | 外科用皮膚去油劑或去黏劑 |  |  | Surgical skin degreaser or adhesive tape solvent |  |  |  | 1 |
| I.4760 | 可拆除式皮膚縫合釘 |  |  | Removable skin staple |  |  |  | 1 |
| I.4800 | 一般手術用手動式器械 |  |  | Manual surgical instrument for general use |  |  |  | 1 |
| I.4820 | 手術用器具馬達與配件或附件 |  |  | Surgical instrument motors and accessories/attachments |  |  |  | 1 |
| I.4930 | 縫線置留裝置 |  |  | Suture retention device |  |  |  | 1 |
| I.4950 | 手動式外科手術抬、手術椅及其 附件 |  |  | Manual operating table and accessories and manual operating chair and accessories |  |  |  | 1 |
| I.4960 | 電動或氣動式外科手術抬、手術 椅及其附件 |  |  | Operating tables and accessories and operating chairs and accessories |  |  |  | 1 |
| I.5350 | 探針式除毛機 |  |  | Needle-type epilator |  |  |  | 1 |
| I.5360 | 拔毛鉗式除毛機 |  |  | Tweezer-type epilator |  |  |  | 1 |
| I.5900 | 非充氣式止血帶 |  |  | Nonpneumatic tourniquet |  |  |  | 1 |
| I.5910 | 充氣式止血帶 |  |  | Pneumatic tourniquet |  |  |  | 1 |
| 十、 | 一般醫院及個人使用裝置 |  |  |  |  |  |  |  |
|  | (GENERAL HOSPITAL AND PERSONAL USE DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 名稱 |  |  |  |  |  |  | 等級 |
| J.2200 | 前額液晶體溫片 |  | Liquid crystal forehead temperature strip |  |  |  |  | 1 |
| J.2900 | 臨床變色體溫計 |  | Clinical color change thermometer |  |  |  |  | 1 |
| J.5075 | 彈性繃帶 |  | Elastic bandage |  |  |  |  | 1 |
| J.5090 | 液體性繃帶 |  | Liquid bandage |  |  |  |  | 1 |
| J.5110 | 水壓可調整式病床 |  | Hydraulic adjustable hospital bed |  |  |  |  | 1 |
| J.5120 | 手動可調整式病床 |  | Manual adjustable hospital bed |  |  |  |  | 1 |
| J.5150 | 非動力式治療床墊 |  | Nonpowered flotation therapy mattress |  |  |  |  | 1 |
| J.5160 | 醫療用束帶 |  | Therapeutic medical binder |  |  |  |  | 1 |
| J.5180 | 灼傷片 |  | Burn sheet |  |  |  |  | 1 |
| J.5210 | 血管內導管固定裝置 |  | Intravascular catheter securement device |  |  |  |  | 1 |
| J.5240 | 醫療用黏性膠帶及黏性繃帶 |  | Medical adhesive tape and adhesive bandage |  |  |  |  | 1 |
| J.5270 | 新生兒用眼罩 |  | Neonatal eye pad |  |  |  |  | 1 |
| J.5300 | 醫療用吸收纖維 |  | Medical absorbent fiber |  |  |  |  | 1 |
| J.5420 | 輸血袋用壓力器 |  | Pressure infusor for an I.V. bag |  |  |  |  | 1 |
| J.5510 | 非交流電力式病患升降機 |  | Non-AC-powered patient lift |  |  |  |  | 1 |
| J.5550 | 交替式壓力氣墊床 |  | Alternating pressure air flotation mattress |  |  |  |  | 1 |
| J.5560 | 溫度調節式水床墊 |  | Temperature regulated water mattress |  |  |  |  | 1 |
| J.5680 | 小兒姿勢固定器 |  | Pediatric position holder |  |  |  |  | 1 |
| J.5740 | 蛇咬用傷口吸引組 |  | Suction snakebite kit |  |  |  |  | 1 |
| J.5780 | 醫用輔助襪 |  | Medical support stocking |  |  |  |  | 1 |
| J.5820 | 治療用陰囊支撐器 |  | Therapeutic scrotal support |  |  |  |  | 1 |
| J.5950 | 臍帶閉合器 |  | Umbilical occlusion device |  |  |  |  | 1 |
| J.6025 | 吸收性尖端塗藥器 |  | Absorbent tipped applicator |  |  |  |  | 1 |
| J.6150 | 醫療器械用超音波洗淨機 |  | Ultrasonic cleaner for medical instruments |  |  |  |  | 1 |
| J.6230 | 壓舌板 |  | Tongue depressor |  |  |  |  | 1 |
| J.6280 | 醫用鞋墊 |  | Medical insole |  |  |  |  | 1 |
| J.6375 | 病患用潤滑劑 |  | Patient lubricant |  |  |  |  | 1 |
| J.6430 | 液體藥物給藥器 |  | Liquid medication dispenser |  |  |  |  | 1 |
| J.6450 | 皮膚壓力保護器 |  | Skin pressure protectors |  |  |  |  | 1 |
| J.6775 | 動力式病患輸送裝置 |  | Powered patient transfer device |  |  |  |  | 1 |
| J.6785 | 手動病患輸送裝置 |  | Manual patient transfer device |  |  |  |  | 1 |
| J.6820 | 醫用可拋棄式剪刀 |  | Medical disposable scissors |  |  |  |  | 1 |
| J.6890 | 一般醫療器械用消毒劑 |  | General purpose disinfectants |  |  |  |  | 1 |
| J.6900 | 手提式擔架 |  | Hand-carried stretcher |  |  |  |  | 1 |
| J.6910 | 輪式擔床 |  | Wheeled stretcher |  |  |  |  | 1 |
| J.6960 | 灌洗注射筒 |  | Irrigating syringe |  |  |  |  | 1 |
| J.6970 | 液晶靜脈定位器 |  | Liquid crystal vein locator |  |  |  |  | 1 |
| J.6980 | 靜脈固定器 |  | Vein stabilizer |  |  |  |  | 1 |
| J.6990 | 注射架 |  | Infusion stand |  |  |  |  | 1 |
| 十一、 | 神經學科用裝置 |  |  |  |  |  |  |  |
|  | (NEUROLOGICAL DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  | 等級 |
| K.1200 | 兩點式判讀儀 |  | Two-point discriminator |  |  |  |  | 1 |
| K.1500 | 觸覺計 |  | Esthesiometer |  |  |  |  | 1 |
| K.1525 | 調音叉 |  | Tuning fork |  |  |  |  | 1 |
| K.4030 | 顱骨板鐵砧 |  | Skull plate anvil |  |  |  |  | 1 |
| K.4060 | 腦室套管 |  | Ventricular cannula |  |  |  |  | 1 |
| K.4125 | 神經外科用椅 |  | Neurosurgical chair |  |  |  |  | 1 |
| K.4190 | 夾成形/切割器械 |  | Clip forming/cutting instrument |  |  |  |  | 1 |
| K.4200 | 去夾器械 |  | Clip removal instrument |  |  |  |  | 1 |
| K.4325 | 頭顱鑽手機 |  | Cranial drill handpiece(brace) |  |  |  |  | 1 |
| K.4500 | 頭顱造型術用材料形成工具 |  | Cranioplasty material forming instrument |  |  |  |  | 1 |
| K.4525 | 顯微手術器械 |  | Microsurgical instrument |  |  |  |  | 1 |
| K.4535 | 非動力式神經外科用器械 |  | Nonpowered neurosurgical instrument |  |  |  |  | 1 |
| K.4545 | 分流系統植入用器械 |  | Shunt system implantation instrument |  |  |  |  | 1 |
| K.4600 | 額葉白質刀 |  | Leukotome |  |  |  |  | 1 |
| K.4650 | 神經外科用縫合針 |  | Neurosurgical suture needle |  |  |  |  | 1 |
| K.4750 | 顱骨打洞器 |  | Skull punch |  |  |  |  | 1 |
| K.4900 | 顱骨板起子 |  | Skullplate screwdriver |  |  |  |  | 1 |
| 十二、 | 婦產科用裝置 |  |  |  |  |  |  |  |
|  | (OBSTETRICAL AND GYNECOLOGICAL DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  | 等級 |
| L.1640 | 陷凹鏡及其附件 |  | Culdoscope and accessories |  |  |  |  | 1 |
| L.1690 | 子宮鏡及其附件 |  | Hysteroscope and accessories |  |  |  |  | 1 |
| L.1700 | 子宮鏡灌入器 |  | Hysteroscopic insufflator |  |  |  |  | 1 |
| L.1720 | 婦產科用腹腔鏡及其附件 |  | Gynecologic laparoscope and accessories |  |  |  |  | 1 |
| L.1730 | 腹腔鏡灌入器 |  | Laparoscopic insufflator |  |  |  |  | 1 |
| L.2900 | 胎兒聽診器 |  | Fetal stethoscope |  |  |  |  | 1 |
| L.4520 | 婦產科用一般手動器械 |  | Obstetric-gynecologic general manual instrument |  |  |  |  | 1 |
| L.4530 | 婦產科專用手動器械 |  | Obstetric-gynecologic specialized manual instrument |  |  |  |  | 1 |
| L.5900 | 治療用陰道灌洗器 |  | Therapeutic vaginal douche apparatus |  |  |  |  | 1 |
| L.5920 | 陰道吹藥器 |  | Vaginal insufflator |  |  |  |  | 1 |
| L.6190 | 輔助生殖顯微鏡及其附件 |  | Assisted reproductive microscopes and microscope accessories |  |  |  |  | 1 |
| 十三、 | 眼科用裝置 |  |  |  |  |  |  |  |
|  | (OPHTHALMIC DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  | 等級 |
| M.1040 | 眼球觸覺計 |  | Ocular esthesiometer |  |  |  |  | 1 |
| M.1070 | 色盲檢查器 |  | Anomaloscope |  |  |  |  | 1 |
| M.1090 | Haidlinger刷 |  | Haidlinger brush |  |  |  |  | 1 |
| M.1140 | 眼科用椅 |  | Ophthalmic chair |  |  |  |  | 1 |
| M.1160 | 色覺板照明器 |  | Color vision plate illuminator |  |  |  |  | 1 |
| M.1200 | 眼球運動鼓狀器 |  | Optokinetic drum |  |  |  |  | 1 |
| M.1250 | 直視鏡 |  | Euthyscope |  |  |  |  | 1 |
| M.1290 | 固定裝置 |  | Fixation device |  |  |  |  | 1 |
| M.1320 | 穹窿鏡 |  | Fornixscope |  |  |  |  | 1 |
| M.1350 | 角膜鏡 |  | Keratoscope |  |  |  |  | 1 |
| M.1375 | Bagolini鏡片 |  | Bagolini lens |  |  |  |  | 1 |
| M.1380 | 診斷用聚光鏡片 |  | Diagnostic condensing lens |  |  |  |  | 1 |
| M.1390 | 診斷用彈性Fresnel鏡片 |  | Flexible diagnostic Fresnel lens |  |  |  |  | 1 |
| M.1395 | 診斷用Hruby眼底鏡片 |  | Diagnostic Hruby fundus lens |  |  |  |  | 1 |
| M.1400 | Maddox鏡 |  | Maddox lens |  |  |  |  | 1 |
| M.1405 | 眼科試驗鏡片組 |  | Ophthalmic trial lens set |  |  |  |  | 1 |
| M.1410 | 眼科試驗鏡片夾 |  | Ophthalmic trial lens clip |  |  |  |  | 1 |
| M.1435 | 馬克斯威氏點 |  | Maxwell spot |  |  |  |  | 1 |
| M.1460 | 立體感測量器 |  | Stereopsis measuring instrument |  |  |  |  | 1 |
| M.1605 | 視野鏡 |  | Perimeter |  |  |  |  | 1 |
| M.1650 | 眼科用棒狀稜鏡 |  | Ophthalmic bar prism |  |  |  |  | 1 |
| M.1655 | 眼科用Fresnel稜鏡 |  | Ophthalmic Fresnel prism |  |  |  |  | 1 |
| M.1660 | 視軸角度稜鏡 |  | Gonioscopic prism |  |  |  |  | 1 |
| M.1665 | 眼科旋轉稜鏡 |  | Ophthalmic rotary prism |  |  |  |  | 1 |
| M.1680 | 眼科用投影機 |  | Ophthalmic projector |  |  |  |  | 1 |
| M.1690 | 瞳孔圖儀 |  | Pupillograph |  |  |  |  | 1 |
| M.1700 | 瞳孔計 |  | Pupillometer |  |  |  |  | 1 |
| M.1750 | 視網膜檢影器架 |  | Skiascopic rack |  |  |  |  | 1 |
| M.1790 | 近點尺 |  | Nearpoint ruler |  |  |  |  | 1 |
| M.1800 | Schirmer試紙 |  | Schirmer strip |  |  |  |  | 1 |
| M.1810 | 切線幕(視野計) |  | Tangent screen (campimeter) |  |  |  |  | 1 |
| M.1870 | 立體鏡 |  | Stereoscope |  |  |  |  | 1 |
| M.1905 | 眼球震顫帶 |  | Nystagmus tape |  |  |  |  | 1 |
| M.1910 | 視覺分離試驗系統 |  | Spectacle dissociation test system |  |  |  |  | 1 |
| M.1940 | 眼壓計消毒器 |  | Tonometer sterilizer |  |  |  |  | 1 |
| M.1945 | 透照器 |  | Transilluminator |  |  |  |  | 1 |
| M.3200 | 義眼 |  | Artificial eye |  |  |  |  | 1 |
| M.4070 | 動力式角膜鑽孔器 |  | Powered corneal burr |  |  |  |  | 1 |
| M.4250 | 眼科用電解器 |  | Ophthalmic electrolysis unit |  |  |  |  | 1 |
| M.4300 | 人工水晶體導引器 |  | Intraocular lens guide |  |  |  |  | 1 |
| M.4335 | 手術用頭燈 |  | Operating headlamp |  |  |  |  | 1 |
| M.4350 | 手動式眼科手術器械 |  | Manual ophthalmic surgical instrument |  |  |  |  | 1 |
| M.4360 | 眼睛手術灌注裝置 |  | Ocular surgery irrigation device |  |  |  |  | 1 |
| M.4370 | 角膜刀 |  | Keratome |  |  |  |  | 1 |
| M.4570 | 眼科手術標記器 |  | Ophthalmic surgical marker |  |  |  |  | 1 |
| M.4750 | 眼科用眼罩 |  | Ophthalmic eye shield |  |  |  |  | 1 |
| M.4770 | 眼科用手術眼鏡(放大鏡) |  | Ophthalmic operating spectacles (loupes) |  |  |  |  | 1 |
| M.5600 | 上眼瞼下垂支持器 |  | Ptosis crutch |  |  |  |  | 1 |
| M.5844 | 矯正鏡片 |  | Corrective spectacle lens |  |  |  |  | 1 |
| 十四、 | 骨科用裝置 |  |  |  |  |  |  |  |
|  | (ORTHOPEDIC DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  | 等級 |
| N.1100 | 關節鏡 |  | Arthroscope |  |  |  |  | 1 |
| N.3000 | 骨臼帽 |  | Bone cap |  |  |  |  | 1 |
| N.4200 | 骨水泥分配器 |  | Cement dispenser |  |  |  |  | 1 |
| N.4210 | 臨床用骨水泥攪拌器 |  | Cement mixer for clinical use |  |  |  |  | 1 |
| N.4220 | 骨水泥單體蒸氣排除器 |  | Cement monomer vapor evacuator |  |  |  |  | 1 |
| N.4230 | 骨水泥通風管 |  | Cement ventilation tube |  |  |  |  | 1 |
| N.4540 | 手動式骨科手術器械 |  | Orthopedic manual surgical instrument |  |  |  |  | 1 |
| N.5850 | 非動力式骨科牽引器及配件 |  | Nonpowered orthopedic traction apparatus and accessories |  |  |  |  | 1 |
| N.5890 | 非侵入式牽引組件 |  | Noninvasive traction component |  |  |  |  | 1 |
| N.5940 | 石膏類產品 |  | Cast component |  |  |  |  | 1 |
| N.5960 | 石膏拆除器械 |  | Cast removal instrument |  |  |  |  | 1 |
| N.5980 | 手動式打石膏及拆石膏器械 |  | Manual cast application and removal instrument |  |  |  |  | 1 |
| 十五、 | 物理醫學科用裝置 |  |  |  |  |  |  |  |
|  | (PHYSICAL MEDICINE DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  | 等級 |
| O.0003 | 皮膚局部冷凍劑 |  | Topical refrigerant (vapocoolant) |  |  |  |  | 1 |
| O.0006 | 連續式被動關節活動器 |  | Continuous Passive Motion Device |  |  |  |  | 1 |
| O.1175 | 電極線 |  | Electrode cable |  |  |  |  | 1 |
| O.3025 | 義肢及裝具用附件 |  | Prosthetic and orthotic accessory |  |  |  |  | 1 |
| O.3075 | 醫療用手杖 |  | Cane |  |  |  |  | 1 |
| O.3100 | 機械椅 |  | Mechanical chair |  |  |  |  | 1 |
| O.3150 | 醫療用柺杖 |  | Crutch |  |  |  |  | 1 |
| O.3175 | 浮動坐墊 |  | Flotation cushion |  |  |  |  | 1 |
| O.3410 | 體外肢體裝具用組件 |  | External limb orthotic component |  |  |  |  | 1 |
| O.3420 | 體外肢體義肢用組件 |  | External limb prosthetic component |  |  |  |  | 1 |
| O.3475 | 肢體裝具 |  | Limb orthosis |  |  |  |  | 1 |
| O.3490 | 軀幹裝具 |  | Truncal orthosis |  |  |  |  | 1 |
| O.3500 | 體外組裝下肢義肢 |  | External assembled lower limb prosthesis |  |  |  |  | 1 |
| O.3520 | 治療檯 |  | Plinth |  |  |  |  | 1 |
| O.3640 | 手臂吊帶 |  | Arm sling |  |  |  |  | 1 |
| O.3665 | 先天性髖關節移位外展夾板 |  | Congenital hip dislocation abduction splint |  |  |  |  | 1 |
| O.3675 | 丹尼布朗夾板 |  | Denis Brown splint |  |  |  |  | 1 |
| O.3750 | 機械式治療檯 |  | Mechanical table |  |  |  |  | 1 |
| O.3760 | 動力式治療檯 |  | Powered table |  |  |  |  | 1 |
| O.3825 | 機械式助行器 |  | Mechanical walker |  |  |  |  | 1 |
| O.3850 | 機械式輪椅 |  | Mechanical wheelchair |  |  |  |  | 1 |
| O.5125 | 非動力式坐浴 |  | Nonpowered sitz bath |  |  |  |  | 1 |
| O.5160 | 氣流床 |  | Air-fluidized bed |  |  |  |  | 1 |
| O.5170 | 動力式氣流漂浮治療床 |  | Powered flotation therapy bed |  |  |  |  | 1 |
| O.5180 | 手動式病人翻身床 |  | Manual patient rotation bed |  |  |  |  | 1 |
| O.5225 | 動力式病人翻身床 |  | Powered patient rotation bed |  |  |  |  | 1 |
| O.5700 | 醫療用冷敷包 |  | Cold pack |  |  |  |  | 1 |
| O.5710 | 醫療用可丟棄式的冷熱敷包 |  | Hot or cold disposable pack |  |  |  |  | 1 |
| O.5720 | 醫療用水循環式冷熱敷包 |  | Water circulating hot or cold pack |  |  |  |  | 1 |
| O.5730 | 醫療用濕熱敷包 |  | Moist heat pack |  |  |  |  | 1 |
| O.5765 | 壓力供應裝置 |  | Pressure-applying device |  |  |  |  | 1 |
| O.5925 | 牽引用附件 |  | Traction accessory |  |  |  |  | 1 |
| 十六、 | 放射學科用裝置 |  |  |  |  |  |  |  |
|  | (RADIOLOGY DEVICES) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  | 等級 |
| P.1350 | 核醫掃描台 |  | Nuclear scanning bed |  |  |  |  | 1 |
| P.1400 | 核醫密封校正源 |  | Nuclear sealed calibration source |  |  |  |  | 1 |
| P.1410 | 核醫心電圖同步器 |  | Nuclear electrocardiograph synchronizer |  |  |  |  | 1 |
| P.1640 | 放射性影片標記系統 |  | Radiographic film marking system |  |  |  |  | 1 |
| P.1760 | 診斷用X光球管套組件 |  | Diagnostic x-ray tube housing assembly |  |  |  |  | 1 |
| P.1830 | 放射科病患用支架 |  | Radiologic patient cradle |  |  |  |  | 1 |
| P.1840 | 放射線影片 |  | Radiographic film |  |  |  |  | 1 |
| P.1910 | 放射線柵板 |  | Radiographic grid |  |  |  |  | 1 |
| P.1920 | 放射線造影頭部固定器 |  | Radiographic head holder |  |  |  |  | 1 |
| P.1960 | 放射線強化螢幕 |  | Radiographic intensifying screen |  |  |  |  | 1 |
| P.1970 | 放射線心電圖/呼吸器同步器 |  | Radiographic ECG/respirator synchronizer |  |  |  |  | 1 |
| P.2010 | 醫學影像儲存裝置 |  | Medical image storage device |  |  |  |  | 1 |
| P.2020 | 醫學影像傳輸裝置 |  | Medical image communication device |  |  |  |  | 1 |
| P.5740 | 放射核種遠端治療源 |  | Radionuclide teletherapy source |  |  |  |  | 1 |
| P.5780 | 病患定位光束指示器 |  | Light beam patient position indicator |  |  |  |  | 1 |
| P.6500 | 個人用防護罩 |  | Personnel protective shield |  |  |  |  | 1 |
| 十七、 | 其他經中央衛生主管機關認定者 |  |  |  |  |  |  |  |
|  | (OTHER CATERORIES SPECIFIED BY THE CENTRAL COMPETENT HEALTH AUTHORITY ) |  |  |  |  |  |  |  |
| 代碼 | 中文名稱 |  | 英文名稱 |  |  |  |  |  |
| B.0002 | 血液成份壓取裝置 |  | Blood component extractor |  |  |  |  | 1 |