## 1
醫療器材標準採認資料：第一組
編號 | 項目 | 類別 | 標準名稱 | 標準編號
DOH-000479 | 1 | IVD | Electrical equipment for measurement, control and laboratory use - EMC requirements - Part 2-6: Particular requirements - In vitro diagnostic (IVD) medical equipment | CEI/IEC 61326-2-6:2005
DOH-000480 | 2 | IVD | Point-of-care testing (POCT) -- Requirements for quality and competence | ISO 22870:2006
DOH-000481 | 3 | IVD | Point-of-Care Connectivity; Approved Standard- Second Edition | POCT1-A2
DOH-000482 | 4 | IVD | Implementation Guide of POCT1 for Healthcare Providers; Proposed Guideline | POCT2-P
DOH-000483 | 5 | IVD | Point-of-Care In Vitro Diagnostic (IVD) Testing; Approved Guideline - Second Edition | POCT4-A2
DOH-000484 | 6 | IVD | 體外診斷系統－糖尿病管理時自我 檢測用血糖監測系統之規定 | CNS 15035:2006
DOH-000485 | 7 | IVD | Wellness Testing Using IVD Devices; Approved Guideline | AST3-A
DOH-000486 | 8 | IVD | Glucose Monitoring in Settings Without Laboratory Support; Approved Guideline—Second Edition | AST4-A2
DOH-000487 | 9 | IVD | Laboratory Automation: Specimen Container/Specimen Carrier; Approved Standard | AUTO1-A
DOH-000488 | 10 | IVD | Laboratory Automation: Bar Codes for Specimen Container Identification; Approved StandardSecond Edition | AUTO2-A2
DOH-000489 | 11 | IVD | Laboratory Automation: Electromechanical Interfaces; Approved Standard | AUTO5-A
DOH-000490 | 12 | IVD | Laboratory Automation: Data Content for Specimen Identification; Approved Standard | AUTO7-A
DOH-000491 | 13 | IVD | Protocols to Validate Laboratory Information Systems; Proposed Guideline | AUTO8-P
DOH-000492 | 14 | IVD | Remote Access to Clinical Laboratory Diagnostic Devices via the Internet; Proposed Standard | AUTO9-P
DOH-000493 | 15 | IVD | Preparation and Validation of Commutable Frozen Human Serum Pools as Secondary Reference Materials for Cholesterol Measurement Procedures; Approved Guideline | C37-A
DOH-000494 | 16 | IVD | Analytical Procedures for the Determination of Lead in Blood and Urine; Approved Guideline | C40-A
DOH-000495 | 17 | IVD | Evaluation of the Linearity of Quantitative Measurement Procedures: A Statistical Approach; Approved Guideline | EP6-A
DOH-000496 | 18 | IVD | Protocols for Determination of Limits of Detection and Limits of Quantitation; Approved Guideline | EP17-A
DOH-000497 | 19 | IVD | Estimation of Total Analytical Error for Clinical Laboratory Methods; Approved Guideline | EP21-A
DOH-000498 | 20 | IVD | Assessment of the Clinical Accuracy of Laboratory Tests Using Receiver Operating Characteristic (ROC) Plots; Approved Guideline | GP10-A
DOH-000499 | 21 | IVD | Protocols for Evaluating Dehydrated Mueller–Hinton Agar; Approved Standard | M6-A
DOH-000500 | 22 | IVD | Methods for Dilution Antimicrobial Susceptibility Tests for Bacteria That Grow Aerobically; Approved StandardSeventh Edition | M7-A7
DOH-000501 | 23 | IVD | Methodology for the Serum Bactericidal Test; Approved Guideline | M21-A
DOH-000502 | 24 | IVD | Quality Control for Commercially Prepared Microbiological Culture Media; Approved Standard—Third Edition | M22-A3
DOH-000503 | 25 | IVD | Development of In Vitro Susceptibility Testing Criteria and Quality Control Parameters; Approved Guideline—Second Edition | M23-A2
DOH-000504 | 26 | IVD | Susceptibility Testing of Mycobacteria, Nocardiae, and Other Aerobic Actinomycetes; Approved Standard | M24-A
DOH-000505 | 27 | IVD | Methods for Determining Bactericidal Activity of Antimicrobial Agents; Approved Guideline | M26-A
DOH-000506 | 28 | IVD | Performance Standards for Antimicrobial Disk and Dilution Susceptibility Tests for Bacteria Isolated from Animals; Informational Supplement | M31-S1
DOH-000507 | 29 | IVD | Performance Standards for Antimicrobial Disk and Dilution Susceptibility Tests for Bacteria Isolated from Animals; Approved Standard—Second Edition | M31-A2
DOH-000508 | 30 | IVD | Evaluation of Lots of Dehydrated Mueller-Hinton Broth for Antimicrobial Susceptibility Testing; Proposed Guideline | M32-P
DOH-000509 | 31 | IVD | Analysis and Presentation of Cumulative Antimicrobial Susceptibility Test Data; Approved Guideline | M39-P
DOH-000510 | 32 | IVD | Methods for Antimicrobial Dilution and Disk Susceptibility Testing of Infrequently Isolated or Fastidious Bacteria; Proposed Guideline | M45-P
DOH-000511 | 33 | IVD | Collection, Transport, Preparation, and Storage of Specimens for Molecular Methods; Approved Guideline | MM13-A

## 2
醫療器材標準採認資料：第二組
編號 | 項目 | 類別 | 標準名稱 | 標準編號
DOH-000512 | 1 | Sterilization | Sterilization of health care products -- Chemical indicators -- Part 1: General requirements | ISO 11140-1:2005
DOH-000513 | 2 | Biocompatibility | Biological evaluation of medical devices -- Part 3: Tests for genotoxicity, carcinogenicity and reproductive toxicity | ISO 10993-3:2003
DOH-000514 | 3 | Biocompatibility | Biological evaluation of medical devices -- Part 4: Selection of tests for interactions with blood | ISO 10993-4:2002/Amd 1:2006
DOH-000515 | 4 | Biocompatibility | Biological evaluation of medical devices -- Part 6: Tests for local effects after implantation | ISO 10993-6:2007
DOH-000516 | 5 | Biocompatibility | Biological evaluation of medical devices -- Part 10: Tests for irritation and delayed-type hypersensitivity | ISO 10993-10:2002/Amd 1:2006
DOH-000517 | 6 | Biocompatibility | Biological evaluation of medical devices -- Part 11: Tests for systemic toxicity | ISO 10993-11:2006
DOH-000518 | 7 | Sterilization | Sterilization of health care products -- Biological indicators -- Part 1: General requirements | ISO 11138-1:2006
DOH-000519 | 8 | Sterilization | Sterilization of health care products -- Biological indicators -- Part 2: Biological indicators for ethylene oxide sterilization processes | ISO 11138-2:2006
DOH-000520 | 9 | Sterilization | Sterilization of health care products -- Biological indicators -- Part 3: Biological indicators for moist heat sterilization processes | ISO 11138-3:2006
DOH-000521 | 10 | Sterilization | Sterilization of health care products -- Biological indicators -- Part 4: Biological indicators for dry heat sterilization processes | ISO 11138-4:2006
DOH-000522 | 11 | Sterilization | Sterilization of health care products -- Biological indicators -- Part 5: Biological indicators for low-temperature steam and formaldehyde sterilization processes | ISO 11138-5:2006
DOH-000523 | 12 | Sterilization | Sterilization of health care products -- Chemical indicators -- Part 3: Class 2 indicator systems for use in the Bowie and Dick-type steam penetration test | ISO 11140-3:2007
DOH-000524 | 13 | Sterilization | Sterilization of health care products -- Chemical indicators -- Part 4: Class 2 indicators as an alternative to the Bowie and Dick-type test for detection of steam penetration | ISO 11140-4:2007
DOH-000525 | 14 | Sterilization | Sterilization of health care products -- Chemical indicators -- Part 5: Class 2 indicators for Bowie and Dick-type air removal tests | ISO 11140-5:2007
DOH-000526 | 15 | Sterilization | Sterilization of medical devices -- Microbiological methods -- Part 1: Determination of a population of microorganisms on products | ISO 11737-1:2006
DOH-000527 | 16 | Sterilization | Sterilization of medical devices -- Microbiological methods -- Part 2: Tests of sterility performed in the validation of a sterilization process | ISO 11737-2:1998
DOH-000528 | 17 | Sterilization | Aseptic processing of health care products -- Part 3: Lyophilization | ISO 13408-3:2006
DOH-000529 | 18 | Sterilization | Aseptic processing of health care products -- Part 5: Sterilization in place | ISO 13408-5:2006
DOH-000530 | 19 | Sterilization | Aseptic processing of health care products -- Part 6: Isolator systems | ISO 13408-6:2005
DOH-000531 | 20 | Sterilization | Cleanrooms and associated controlled environments -- Part 8: Classification of airborne molecular contamination | ISO 14644-8:2006
DOH-000532 | 21 | Biocompatibility | Biological evaluation of medical devices -- Guidance on a risk-management process | ISO/TS 20993:2006
DOH-000533 | 22 | Sterilization | Automatic, general-purpose ethylene oxide sterilizers and ethylene oxide sterilant sources intended for use in health care facilities | ST24:1999
DOH-000534 | 23 | Sterilization | Table-top steam sterilizers | ST55:2003
DOH-000535 | 24 | Sterilization | Sterilization of health care products Chemical indicators Part 2: Class 2 indicators for air removal test sheets and packs | ST66:1999
DOH-000536 | 25 | Sterilization | Containment devices, reusable rigid sterilization containers, instrument cases, cassettes, organizing trays | ST77:2006
DOH-000537 | 26 | Sterilization | Sterilization of health care products -- Chemical indicators -- Guidance for selection, use and interpretation of results | 15882:2003

## 3
醫療器材標準採認資料：第三組
編號 | 項目 | 類別 | 標準名稱 | 標準編號
DOH-000538 | 1 | Mat | 外科體內植入物－金屬材料－鍛造不鏽鋼 | CNS 13382-1:2004
DOH-000539 | 2 | Mat | 外科體內植入物－金屬材料－鍛造鈷－鉻－鎢－鎳合金 | CNS 13382-2:2004
DOH-000540 | 3 | Mat | 外科體內植入物－金屬材料－鍛造鈷－鎳－鉻－鉬－鎢－鐵合金 | CNS 13382-3:2004
DOH-000541 | 4 | Mat | 外科體內植入物－金屬材料－鍛造鈷－鎳－鉻－鉬合金 | CNS 13382-4:2004
DOH-000542 | 5 | Mat | 外科體內植入物－金屬材料－鈦金屬 | CNS 13382-5:2004
DOH-000543 | 6 | Mat | 外科體內植入物－金屬材料－鑄造鈷-鉻-鉬合金 | CNS 13382-6:2004
DOH-000544 | 7 | Mat | 外科體內植入物－金屬材料－鍛造鈦－６鋁－４釩合金 | CNS 13382-7:2004
DOH-000545 | 8 | Mat | 外科體內植入物－金屬材料－可鍛及冷作加工鈷－鉻－鎳－鉬－鐵合金 | CNS 13382-8:2004
DOH-000546 | 9 | Ortho | 外科植入物–骨髓內釘系統（第二部分：骨髓釘） | CNS 13382-9:1995
DOH-000547 | 10 | Ortho | 外科植入物–骨科人工關節–基本需求 | CNS 13382-10 :1995
DOH-000548 | 11 | Ortho | 外科植入物–半人工及全人工膝關節（第一部分：分類、定義及尺寸之標示） | CNS 13382-11:1995
DOH-000549 | 12 | Ortho | 外科植入物–金屬骨螺絲具有六角螺絲頭螺絲之起子接觸帽孔，球形之螺帽下表面，不對稱之螺紋–尺寸 | CNS 13382-12:1995
DOH-000550 | 13 | Ortho | 外科植入物–具錐形下表面螺絲頭之金屬骨螺絲–尺寸 | CNS 13382-13:1995
DOH-000551 | 14 | Ortho | 外科植入物–聚甲基丙烯酸甲脂 第一部分: 骨科應用 | CNS 13382-14:1995
DOH-000552 | 15 | Ortho | 外科植入物–金屬骨板–螺絲孔適用不對稱螺紋及球形下表面之螺絲 | CNS 13382-15:1995
DOH-000553 | 16 | Ortho | 外科植入物–金屬骨板–螺絲孔及槽適用於錐形下表面螺絲 | CNS 13382-16:1995
DOH-000554 | 17 | Ortho | 外科植入物–骨髓內釘系統–第一部分：橫斷面為梅花狀或Ｖ型之骨髓內釘 | CNS 13382-17:1995
DOH-000555 | 18 | Mat | 外科植入物–生物相容性–材料及器材之生物檢測方法的選擇（準則） | CNS 13382-18:1995
DOH-000556 | 19 | Ortho | 外科植入物–骨板彎曲強度與勁度的測定 | CNS 13382-19:1995
DOH-000557 | 20 | Ortho | 外科植入物–半及全人工髖關節–第一部分：分類、尺寸標示及規定 | CNS 13382-20:1995
DOH-000558 | 21 | Ortho | 外科植入物–半及全人工髖關節–第二部分：由金屬及塑膠製成之軸承面 | CNS 13382-21:1995
DOH-000559 | 22 | Ortho | 外科植入物–半及全人工髖關節–第三部分：不含扭力之股骨柄耐久性測試 | CNS 13382-22:1995
DOH-000560 | 23 | Ortho | 外科植入物–半及全人工髖關節–第四部分：含扭力之股骨柄耐久性測試 | CNS 13382-23:1995
DOH-000561 | 24 | Mat | 外科植入物–超高分子量聚乙烯（第一部分：粉狀） | CNS 13382-24:1996
DOH-000562 | 25 | Mat | 外科植入物–超高分子量聚乙烯（第二部分：成形材） | CNS 13382-25:1996
DOH-000563 | 26 | Ortho | 外科植入物–骨針及骨線（第一部分：材料與機械特性要求） | CNS 13382-26:1996
DOH-000564 | 27 | Ortho | 外科植入物–骨針及骨線（第二部分：Ｓｔｅｉｎｍａｎｎ骨針–尺度） | CNS 13382-27:1996
DOH-000565 | 28 | Ortho | 外科植入物–骨科使用之平行腳Ｕ形釘（一般要求） | CNS 13382-28:1996
DOH-000566 | 29 | Ortho | 外科植入物–不對稱螺紋與球形底面之金屬骨螺釘（機械要求及測試方法） | CNS 13382-29:1996
DOH-000567 | 30 | Ortho | 外科植入物–成人之股骨端固定用裝置 | CNS 13382-30:1996

## 4
醫療器材標準採認資料：第四組
編號 | 項目 | 類別 | 標準名稱 | 標準編號
DOH-000568 | 1 | Anesthesia | 小型醫療氣體鋼瓶－銷針標示軛式閥接頭 | CNS 14961:2005
DOH-000569 | 2 | Anesthesia | 氣體鋼瓶－工業與醫療氣體鋼瓶之閥保護帽與閥保護套－設計、結構與試驗 | CNS 14962:2005
DOH-000570 | 3 | Anesthesia | 醫療用氣體混合器－獨立式氣體混合器 | CNS 14963:2005
DOH-000571 | 4 | Anesthesia | 醫療氣體管線系統－第１部：壓縮醫療氣體及真空用管線 | CNS 15003-1:2006
DOH-000572 | 5 | Anesthesia | 醫療氣體管線系統－第２部：麻醉氣體之清理排放系統 | CNS 15003-2:2006
DOH-000573 | 6 | Anesthesia | 醫療氣體管線系統使用之氧氣濃縮機 | CNS 15004:2006
DOH-000574 | 7 | Anesthesia | 醫療氣體管線系統之終端單元－第１部：壓縮醫療氣體與真空用終端單元 | CNS 15005-1:2006
DOH-000575 | 8 | Anesthesia | 醫療氣體管線系統之終端單元－第２部：麻醉氣體清理系統之終端單元 | CNS 15005-2:2006
DOH-000576 | 9 | Anesthesia | 連接於醫療氣體管線系統終端單元之流量計裝置 | CNS 15006:2006
DOH-000577 | 10 | Software | Software engineering - Software product Quality Requirements and Evaluation (SQuaRE) - Planning and management | ISO/IEC 25000-1:2007
DOH-000578 | 11 | General | Medical electrical equipment - Part 1-2: General requirements for basic safety and essential performance - Collateral standard: Electromagnetic compatibility - Requirements and tests | IEC 60601-1-2 :2007
DOH-000579 | 12 | General | Medical electrical equipment - Part 1-6: General requirements for basic safety and essential performance - Collateral standard: Usability | IEC 60601-1-6:2006
DOH-000580 | 13 | General | Medical electrical equipment - Part 2-22: Particular requirements for the safety of diagnostic and therapeutic laser equipment | CEI/IEC 60601-2-22:1995
DOH-000581 | 14 | Radiology | Medical electrical equipment –Part 2-45: Particular requirements for the safety of mammographic X-ray equipment and mammographic stereotactic devices | IEC 60601-2-45 :2001
DOH-000582 | 15 | General | Electrical equipment for measurement, control and laboratory use - EMC requirements - Part 1: General requirements | IEC 61326-1:2005
DOH-000583 | 16 | Radiology | Safety of laser products - Part 8: Guidelines for the safe use of laser beams on humans | IEC/TR 60825-8:2006
DOH-000584 | 17 | General | General testing procedures for medical electrical equipment | IEC/TR 62354:2005
DOH-000585 | 18 | General | Health informatics -- Digital imaging and communication in medicine (DICOM) including workflow and data management | ISO 12052:2006
DOH-000586 | 19 | Software | Software engineering -- Software product Quality Requirements and Evaluation (SQuaRE) -- Requirements for quality of Commercial Off-The-Shelf (COTS) software product and instructions for testing | ISO/IEC 25051:2006
DOH-000587 | 20 | Software | Software engineering -- Software product Quality Requirements and Evaluation (SQuaRE) -- Common Industry Format (CIF) for usability test reports | ISO/IEC 25062:2006

## 5
醫療器材標準採認資料：第五組
編號 | 項目 | 類別 | 標準名稱 | 標準編號
DOH-000588 | 1 | GPS/GH | 用於人類血液和血液成品塑膠可折疊之容器－第１部：慣用容器（血袋） | CNS 15036-1:2006
DOH-000589 | 2 | GPS/GH | 電刀裝置 | CNS 13460:1994
DOH-000590 | 3 | GPS/GH | 醫療用輸液設備─第一部份：玻璃點滴瓶 | CNS 14624-1 :2002
DOH-000591 | 4 | GPS/GH | 醫療用輸液設備─第二部份：點滴瓶瓶塞 | CNS 14624-2 :2002
DOH-000592 | 5 | GPS/GH | 醫療用輸液設備─第三部份：點滴瓶鋁蓋 | CNS 14624-3 :2002
DOH-000593 | 6 | GPS/GH | 醫療用輸液設備─第四部份：單次使用之重力式輸液套 | CNS 14624-4:2002
DOH-000594 | 7 | GPS/GH | 醫療用輸液設備─第五部份：量管型輸液套 | CNS 14624-5 :2002
DOH-000595 | 8 | GPS/GH | 醫療用輸液設備─第六部份：點滴瓶之凍晶乾燥瓶塞 | CNS 14624-6 :2002
DOH-000596 | 9 | GPS/GH | 醫療用輸液設備─第七部份：鋁─塑膠組合成之點滴瓶蓋 | CNS 14624-7:2002
DOH-000597 | 10 | GPS/GH | Washer-disinfectors -- Part 1: General requirements, terms and definitions and tests | ISO 15883-1:2006
DOH-000598 | 11 | GPS/GH | Washer-disinfectors -- Part 2: Requirements and tests for washer-disinfectors employing thermal disinfection for surgical instruments, anaesthetic equipment, bowls, dishes, receivers, utensils, glassware, etc. | ISO 15883-2:2006
DOH-000599 | 12 | GPS/GH | Washer-disinfectors -- Part 3: Requirements and tests for washer-disinfectors employing thermal disinfection for human waste containers | ISO 15883-3:2006
DOH-000600 | 13 | GPS/GH | Washer-disinfectors -- Part 5: Test soils and methods for demonstrating cleaning efficacy | ISO/TS 15883-5:2005
DOH-000601 | 14 | GPS/GH | Standard Test Method for The Immunological Measurement of Antigenic Protein in Natural Rubber and its Products | D6499-03
DOH-000602 | 15 | GPS/GH | Standard Specification for Clinical Thermometer Probe Covers and Sheaths1 | E1104-98(R2003)
DOH-000603 | 16 | GPS/GH | Standard Specification for Infrared Thermometers for Intermittent Determination of Patient Temperature | E1965–98 (R 2003)
DOH-000604 | 17 | Card | Standard Guide for Characterization and Presentation of the Dimensional Attributes of Vascular Stents | F2081-01
DOH-000605 | 18 | Neur | Standard Practice for Evaluating and Specifying Implantable Shunt Assemblies for Neurosurgical Application | F647–94 (R2000)
DOH-000606 | 19 | GPS/GH | Standard Specification for Silicone Elastomer Facial Implants | F881–94 (R2000)
DOH-000607 | 20 | Neur | Standard Specification for the Requirements and Disclosure of Self-Closing Aneurysm Clips | F1542–94 (R2000)
DOH-000608 | 21 | GPS/GH | Standard Test Method for Resistance of Materials Used in Protective Clothing to Penetration by Synthetic Blood | F1670–03
DOH-000609 | 22 | GPS/GH | Standard Test Method for Resistance of Materials Used in Protective Clothing to Penetration by Blood-Borne Pathogens Using Phi-X174 Bacteriophage Penetration as a Test System | F1671–03
DOH-000610 | 23 | GPS/GH | Blood transfusion micro-filters | BF7:1989/(R)2002
DOH-000611 | 24 | GPS/GH | Blood pressure transducers | BP22:1994/(R)2001
DOH-000612 | 25 | Card | Medical electrical equipment—Part 2-4: Particular requirements for the safety of cardiac defibrillators (including automated external defibrillators) | DF80:2003
DOH-000613 | 26 | Card | Diagnostic electrocardiographic devices | EC11:1991/(R)2001
DOH-000614 | 27 | Card | Disposable ECG electrodes | EC12:2000/(R)2005
DOH-000615 | 28 | Card | ECG cables and leadwires | EC53:1995/(R)2001
DOH-000616 | 29 | Card | Testing and reporting performance results of cardiac rhythm and ST-segment measurement algorithms | EC57:1998/(R)2003
DOH-000617 | 30 | Neur | Medical electrical equipment-Part 2-23: Particular requirements for the safety, including essential performance, of transcutaneous partial pressure monitoring equipment | 60601-2-23:1999
DOH-000618 | 31 | Card | Medical electrical equipment- Part 2: Particular requirements for the safety of electrocardiographic monitoring equipment | 60601-2-27:1994
DOH-000619 | 32 | Card | Medical electrical equipment- Part 2-30: Particular requirements for safety, including essential performance, of automatic cycling non-invasive blood pressure monitoring equipment | 60601-2-30:1999
DOH-000620 | 33 | Card | Medical electrical equipment –Part 2-34: Particular requirements for the safety, including essential performance, of invasive blood pressure monitoring equipment | 60601-2-34:2000
DOH-000621 | 34 | GPS/GH | Medical electrical equipment - Part 2-38: Particular requirements for the safety of electrically operated hospital beds | 60601-2-38:1996/Amd.1, 1999
DOH-000622 | 35 | GPS/GH | Conical fittings with a 6% (Luer) taper for syringes, needles and certain other medical equipment - Part 1: General requirements | 594-1:1986
DOH-000623 | 36 | GPS/GH | Conical fittings with a 6% (Luer) taper for syringes, needles and certain other medical equipment - Part 2: Lock fittings | 594-2:1998
DOH-000624 | 37 | Card | Cardiac Pacemakers - Part 1 : Implantable Pacemakers | 5841-1:1989
DOH-000625 | 38 | Card | Implants for surgery — Cardiac pacemakers — Part 2:Reporting of clinical performance of populations of pulse generators or leads | 5841-2:2000
DOH-000626 | 39 | Card | Implants for surgery — Cardiac pacemakers — Part 3: Low-profile connectors [IS-1] for implantable pacemakers | 5841-3:2000
DOH-000627 | 40 | Neur | Neurosurgical implants — Sterile, single use hydrocephalus shunts and components | 7197:1997
DOH-000628 | 41 | GPS/GH | Sterile single-use syringes, with or without needle, for insulin | 8537:1991/Amd.1, 2000
DOH-000629 | 42 | Neur | Intracranial pressure monitoring devices | NS28:1988/(R)2001
DOH-000630 | 43 | GPS/GH | Liquid barrier performance and classification of protective apparel and drapes intended for use in health care facilities | PB70:2003
DOH-000631 | 44 | Card | Manual, electronic, or automated sphygmomanometers | SP10:2002/A1:2003
DOH-000632 | 45 | GPS/GH | Infant incubators | II:36:1997
DOH-000633 | 46 | OBGYN/GU | Hemodialysis systems | RD5:2003
DOH-000634 | 47 | OBGYN/GU | Cardiovascular implants and artificial organs - Hemodialyzers, hemodiafilters, hemofilters and hemoconcentrators | RD16:2007
DOH-000635 | 48 | OBGYN/GU | Cardiovascular implants and artificial organs - Extracorporeal blood circuit for hemodialyzers, hemodiafilters and hemofilters | RD17:2007
DOH-000636 | 49 | OBGYN/GU | Reuse of hemodialyzers | RD47:2002 & RD47:2002/A1:2003
DOH-000637 | 50 | OBGYN/GU | Dialysate for hemodialysis | RD52:2004
DOH-000638 | 51 | OBGYN/GU | Concentrates for hemodialysis | RD61:2006
DOH-000639 | 52 | OBGYN/GU | Water treatment equipment for hemodialysis applications | RD62:2006
DOH-000640 | 53 | GPS/GH | Sterile hypodermic syringes for single use - Part 2: Syringes for use with power-driven syringe pumps | 7886-2:1996
DOH-000641 | 54 | GPS/GH | Sterile, single-use intravascular catheters - Part 3: Central venous catheters | 10555-3:1996/ Cor.1:2002
DOH-000642 | 55 | GPS/GH | Sterile, single-use intravascular catheters - Part 5: Over-needle peripheral catheters | 10555-5:1996/Amd.1:1999, Cor.1:2002
DOH-000643 | 56 | GPS/GH | 非侵入式自動血壓計 | CNS 13075:2007